云浮市环境保护局

关于加油站油气回收综合治理工程

环境保护验收合格通知书

中国石油天然气股份有限公司广东云浮郁南都城加油站：

根据广东省环境保护厅《关于油气回收治理验收检测有关事项的通知》(粤环函〔2010〕198号）的要求，经对你单位油气回收综合治理工程材料的审核和现场检查，你单位的油气回收综合治理工程符合国家《储油库大气污染物排放标准》（GB20950-2007）和《储油库、加油站大气污染治理项目验收检测技术规范》（HJ/T431-2008）中的相关要求，同意通过环境保护验收。请你单位加强油气回收设备的维护和管理，严格执行各项环保规章制度，确保治理设施正常运作和各项污染物长期稳定达标排放。

ZUMoY14gcGUxYRAla2Hfc18xYBAgalPfc2AydF0rHGYkbmMoa138HiDtLBHfYV4ia1Qoalb8HkUTQhz3Hi79CPn7ZUMoY14gcGUxYS3MBiwWS0IDZUMoY14gcGUxYS3MBiwFaFEmOi=7KzYrXVb9CPn7PWAvSlEsYS4Wa2IjHCDwKi=nLSDtLB30Mi=zKi=sUiftLB3vKiD3NBj7KzEvbD4gaVT9CPn7QF8iRTP9dyIELzICPij3KSkEPyjsMCcELRz3MCbyKSkFPzPyLSgFMyHxM2z7KzQuXzkDOfzJODQuXz4gaVT9XWIiW2QkaW=tYF8iOB8Da1MNXV0kOfzJOEMoY14gcGUxYT4gaVT90LZ3nbqPt6d9r6Fit5R90ivuT1kmalEzcWIkSlEsYS3MBiwSZVctXWQ0blUUb1UxSlEsYS6TwqhgxsB6s65yrZN6oK6VOB8SZVctXWQ0blUUb1UxSlEsYS3MBiwSZVctXWQ0blUUalkzSlEsYS6TwqhgsdeWz8W9yuD7K0MoY14gcGUxYUUtZWQNXV0kOfzJOEMoY14gcGUxYTskdUMNOkUTLCHxLC=1LS=wLS=vLCH2NSL4OB8SZVctXWQ0blUKYWkSSi3MBiwSZVctXWQ0blUTZV0kOiHvLSXsLCfsLijfLS=5LSL5LSj7K0MoY14gcGUxYUQoaVT9CPn7P18sbGUzYWIITC3wMyHtLSXtLB3wLS=7KzMuaWA0cFUxRU=9CPn7P18sbGUzYWIMPTMAYFQxOiTvKScBKSkDKSj1KSgCKSbxOB8Ca10vcWQkbj0APzEjYGH9CPn7TFkiQWgzOh4mZVX7K0AoXzU3cC3MBiwPZVMWZVQzZC3zKiHvLC=vLCvuTFkiU1kjcFf9CPn7TFkiRFUoY1gzOiPtLi=vLC=vOB8PZVMHYVkmZGP9CPn7T1kmalUjP18tcFU3cC4MRTkDK0QCPzDxXVcAczkBPVcITDI2PTMIPkEQP0EEPTEAPTQMUzjvSTDvQzMSbTcSRVHyQEEEPjIQUTEMRTkBRjQESj0AbzcALUUEPlfzQTEESTETZjUhSTIqQzDwUTUCPiQSPTUiPVQQPlgAQyQAVmcBZzEGNDEhYzItSUIyczcQVTQVTUEHRFgIPUI2PiEAQzUAXlcBajEHazEgPTI1PTgUdEATPScBYz4VPjEuYT4APjgAQUEATWcBPjECPTEQczIrPTgIPVQAPmAAQ0kAXUEBZjEGQTEjPTIrPTMAPUEQPiEAREEAXTEBcjEHRTEgTTHvPTgqdEI5PjYBYz4VPjEyYUAmPjgAREUAVUEBcTEGXzEZPTI1PTbzPUo2PVcAQT0AVkEBdTEHTTEgTTIsPTcqPUk2PlgAREEAVkEAYzEEQTEjTTHvPTcmPVI2PmkAQ1sAYDEBMT0VQWcTc0kDUkEQQDgqYzERczIEPTUMPUEQPVcAQVMAYEEBZDEGMDEZczIqPTb3PVImPl4APzEATWcBaDEHRTEjPTIvPTcYPVEQPloAQzUAYDEBaDECPTEQTTHwPTgQPVEAPmYARDkAXUEBLDEHZ2cHZFMNSUQQdD0DPSQMUEk2STQAc0cnXz4MUEk3STQEcz0TVWcMQDE2U1oCPl0TQT4MPWMGPSEUQTInMDUAQT0AUFoETD0ALDcALUUEPzHzQ0gtNT8HRFMBSUD3czQQVTQVTUEHRFcZS1sWLWUXYzk3Q0QAVDImSkYBPV8kQTT1TlIWMVUAaj81UzkNTCMWR1sXQTE3QGoASjImSkYBPWMkPmAZRUf2YGP3UDUZSTIiQzDwUTUAdCQQUGAFcFIrMDMiMikYYy=uYEkwTlMQQDUlSTHvQzMSbTcSRVHyQEEERjERVUEkVEY0Vl4Va0kqPWkMUz40SF0NclITPzItdjENPlcqbVgqZTb4cyABPUEEQjEASzIpTTE2Y0kqP1cYQTEwPzLuVkUWMx8PYx8iLyE2ZEYjPWcLSEnuPkgjLmYUK2IoJ2YTMxs5SkM5YGgoRTL2Y2kyLkIAZmUhLDwrcmclRzE5XikPPyMZZmMIdEUlR2MCZjkRQjktY2YrZGAFZjwuY1vzQzsJYCEmQVoYViD0XkotTUg0c1QZX1swTTcycVYzMUIqUGUHK1MFRDgEZEYlM2A4RCUQXyASVFY3UR80dSc1QBsCRDwmUFsCPWcEPTEgSzI0QDMBcEQAYjImSkYHTz0EQzQAU1cBTiMQc1sQNWgWSD8xPUHvZ2f2PiUQQSgBTkURZjEjPlcNUjgQMDUFY0EUMWgtcGMmXlsqRF0ESDUTPkozaVjuUWX3cTMYczM2VTQVTiAPPjEQQDEmXjEMPkUGPkMvUzM2XzQBPWcTP1oAcz45QSMNUFs2SEQMcz0mVTcKaEkLPiQFKzICZCEZUSg4X0QndFEDQj4YUEI1VSMJTj0ULVgkalbyX1wRdkorX2kiUFgLSS=wbUYXYCEiLUT4STIyQzISbEcFTTUDPjIIcz0DX2kMQDk2STQmcz8TRSANdkE3SWoMczQQVToKa0oIZGYiSjEQQTYBTTEDY0kEPVspRTTxUFj3L2fyQST3U0bvbCMyciEyczDubEY5SDEsL0j1PUkHUUMVckcSYT71SlM4VB8gch8WP2IRSDoZMEXqUiIoLGcCSFstPTQyND4WPj00USL2czf3dSYtQiYMX1g5RGkmaUfuJ0ctXSYpbTYzRUIQY0k5MiUzdWACNGAzdTUVaGoFZlUFRz4idUYnMEU2ckXwQUL1UhsoVmMSUCPvS2gwP14lUzkSNCz7K0MoY14kYDMuamQkdGP9CPn7T1kmalEzcWIkUlErcVT9STkIQ0AmVToKa0oIZGYiSjEQXzMuRTkGSGoCPzIobzMATTU3P2oARjImUWIDYz0CQ1cUPT0CNDcCT2EGTzkhLzQQQTgAXTEoPjMALD4GSWoMdjonVkQFZEkpTWoMQEooVVoAdj05QSMZQzzyS0QVaD0GQlgYXTMCPjEEc1cmTCkMRTkDVmEAQDEmQTMAYygHPTEIYzYBPToATTEAPTEMdEkpTWcDTUkJR18ZRVg1Xz4ATTUFPkEAc1cmQVsMTSA2P2cYQEYQTTcHY0EATWcBSz0Rb2cGTUkDUkEQRTgnRTERczHwPTcEPVImPl4AQ0EAXmcBcTEGX2gGdjEZPlcNUjIAX1UEYzIHPTgUPUkQPmUAQ1MAYVcBazEGNDEjUDT4STQyQzDwUTUCZCPvPTUiPUIAPjQAQTUARTEBQDEGUTEiYzHvPTcqPUomPmAAQz0AVUEBLDEGUTEIPTIBPTgUPVQAPl8AQygAX1cBbDEHTTEkUDYHSTUUQzDwUTUCdCPqPTUiPVQQPlgAQyQAVmcBZzEGNDEhYzItPTMAPUE2PlwARDkAYDEBbDEGVTEgTTIpPTcEPVQAPlwAPzEATUEBLTEHTTEgPTI1PTgIPVEQPiAARFs3UUQBTDImSkYBPT0kTzEBRDEETTEQczIBPTMAPUI2PiEAQzUAXlcBajEGTTEhczI0PTciPTkAPjQAQ0UAX1cBLDEGZzEZYzIvPTcMPUkQPiAAQ0UARTEBPjEHUTEjPTIuPTb3PVMmPmAAREEAYUQAYTY2LGgNQDU2STQmdD4pPWcMQDIgQmbvdD4pQWcMUDE3SloAcz0DPlEMRTcZSUDvczM2VTQVTUEGRFcQPUE2Pj8MTSg2QEEYQEYQTTkHY0okYi=zX1Q2QWgDdjENPlcNUjIAX1UBZyYRXkb0YTEpQUoMPlMGPSEUQTMnMEETbDYzXlvzP1L1NUkmLB8jVWERX0EDQUAMPSAGPSEUQTM3MDcrZ1glcCHydD0RZ2cFc0kDUkEQQDgnPj8qUyE0VFcJdmHwZTQTNSEobDY3PT0RNGcHTUkJR18ZRVg1Xz4ATVsBQlgBMVQWMV0jU1goTTQIdEjxMGUYLikzSTkGYj0ALDcCT2EGTzkhLzQQQTIATUUAPSQGSjEDPzIoTTsBY0ECazkLNVwRXmX3JzP4dlYXPzYVLDQAb2QtNDYjL1D4UBs0SCX4TGX2SSELSiMGRVcLcTQKdkoEPz70ckE0Ux8BNF8DSmXvNDwjaT82ZjYRNGE2Rz0nQUUoYTLqUzcqUz00ZTMXY0kuaCMWPUMNZF4XaGQsYDIkMzHwaGkSbDEgdSTqL1wGTj7zYik2UVMiTzYVK2UtRVYrPmoRRlPuQkPqMzw0NE=zRVM0Pj8QRTQATTEBayQGMD0IQyEMPigGPSEUYDk2TUkMPlEAQjgjQDMRQCMFVWL1bzIHT0QHbzgrPUQ2QjYRQz0BLDcALUUjQFcQUzIBUF4GYSI4PmUSTVUYTWMRSTYsLlELNULudSQJZjELPlcNUjgQNDUBPT0CPmMAczYQVTYKaEkLPmcMQTQBSTsMQDDySUQiLT8TPWQMdjE4PlcYbUYmbzgmVCgERzgVaEQ5RmgORDYuSUTwZD4GNVoiaDU3UEcFMlUDYGkVRD4sUmoJdD8Eb2oTU2AVYCMVdkYTLGcGc0kFR1wYUjEQSTUEZjE2SmoIcz0pPWcOQDD0SVoQLz4DQWoMdjENPlcqbVgqZTb4cyABPUEUQjEASzImTTMSSVcTVj8LdlYHX0QtdEohT14kdR8WdjEDJ1wXSWMCXlQpazImYEIJUykZRiP2ayE5RlX4bR74VTszQWMralgXMUggSEQARWUSXzEOdmbwVTU4MUQlcjEldjwwX0gudGkHSVYKP0olKyUgYGIwS18WLFgFPzIpTGIsLzsqSGksLzkRU0gMUz3zUV7wdjoWRFgTPykXUUILbEf1Rl03RkApTScGazsjNUknSGoGPzEkQWcmYzgjPVcEPj0IRTIOUDMCPUMQdDQTPTwBYz4VPjEYYTIAPjQAQSQ3Q2oAVjImSkYBPVckQVcBRDEHUTEYTTI0PTciPUoAPmYAQyQAVmoEXj0BZzcALUUEPmfzTzEEXzEjTTInPTbzPUo2PiYAQ1cAXmcBLT0TLGcOc0kDUkEQRzgpTTERczIEPTUMPUEQPVcAQT0AVkEBdTEHTTEgTTIsPTcqPUk2PlgAREEAVkEAYzEEQTEjTTHvPTcmPVI2PmkAQ1sAYDEBMT0UX2cRTUkDUkEQSDgpMDERczHwPTcEPVImPl4AQ0EAXmcBcTEGXzEIPTIDPTcUPVMmPiAAQ1sAVlcBbDEGSTEYTTHvPTcUPTkAPjIAREUAYDEBazEGNDEiYzIvPTgQPVUTQkIMQSgGPSEUQTE3MTkAQVMATjEBQDEEQTEIPTIHPTgUPUkQPmUAQ1MAVjEBcjEGMDEZczEmPTUMPUoQPmkAREEAXUEBaTEGZzEYczInPTgQPUoQPVcAQTUAYEEBLDEGYzEhczI4PTcqPVQAPiUAYygHPTEIYzYBPToATTEAPTEMdEkpTWcCTUkFR2bzQDEnazYAQDENPlcqbVgqZTb4cyABPUEEQjEATzImR1E0PlgCcEkUdmAQb2owbT8nRlsORWYKdiAMPWMtcz4MXVQDLFQKTEfzXln2PWozZzsFaTXzTlEZUFX0UGIiVlQkP1UTZzo2YzYGPVgGZF0sPVoqLiPqY2oJdlPyMjQuQjcrK1YZMCAELUQZMSUzMDfybmcgaDoLVmMhYUMpS2=wMjYoK1oZbWkxY1vxPl8CdiUlM2UxUmY5aGMuVGgGMVbwKyXqYzMkVEg5OB8SZVctXWQ0blUVXVw0YS3MBiwSZVctYVQLYV4mcFf9LiDyMivuT1kmalUjSFUtY2QnOfzJOEMoY14gcGUxYT8xYFUxOiD7K0MoY14gcGUxYT8xYFUxOfzJOEYkbmMoa139UiftLB3vKiD3NCvuUlUxb1kuai3MBiwIaVEmYTQCOls2cl8wZFPwbkkKUmkvPTwyXyQWYUEDcFn2LzgmZTIIOTUZTh85MlYNUCAPMWfxNDYrXjo0SUUSNV0CQxsXalEOX2U5YDEudjUlQmYIZ0Y4Z1sqZ1sqSFEgXVDqZ1sLNVsqSCfyUTjuZSEIOUMvXTULU1EEUCMIPmEESEomYjwZRiUgYiErXSgPP1ESNV4LXVEgXiEsc1swZ1sqbVsVZ1sqZ1s1RVsYJ1sqZ0cgdWkEVSAGcSkCJ0UGXUUqSkHvUz4vdVIZR2ElTCHxNGYvbV0TT0L8LmAZUEonbmQ2b2YqMVQNVFsFcVQrLzEZPmUjOSE5U0HqTmf8MUDuZyUKQWAvLGQEMWIhOTEFQFgzLF3yP0MDRh8xY1QNKzIgNWYZZDUZZ14Jb2IjcjQQaFw2YlMsVkExbGY5PmEib0EIU1sFbWcqUWP1VUoQRyQFaiMzVCMEQiQKUGYkdWYjdkANZ2kjclsNRjEySSYlKzrvXyz8UkQHSlk1QjILZzYkLWYCbEMLR0ojckLyQ1IrbkYIYVkoc2QiPUQyNWkIYDYjciUPdUn0P0AEbzP4T2kJcGLyUGEUdEUYc1sZTGP8TFUjXWH4MWb8PV8NSSM2QjoPZjX4VTwNbSQiVl0uZ0TuZFMrOTYyZxsuZz0gOWcZc2ICdVEkMVILJzv3azX2L18ITmMHZ1EJaDsNblQELSM2Y1gWajM4cWHuNV0yRjYibmMNczU1QmMqZFf2QmoPYCDzSS0nVjskYSUwVS0AUFcnNUD2b1sZPkkPdl8FclsrVT30bCbwTWMjY2MkbR8pch7ub1c4UjQhdUQjSFUuch78a2D3TmL8Zi=8b2U2b1M1MyYsZVsqZiA0czwJZVctRlfxQi0tLyEXSlv0blYJQWIYOWMnayMKQ1XzMGkBaVQpZko4TUQhSjf0a1g3a2D0QTruMCIwcmj3OSTwcl8hLT4AUmMCaWY3TGcQdmMjOVPyRjUtVGEyUycMZjYLLGU2Zh8sZ2IxaTLxTjMkVkESdDQtNVUyZGPvUlQQYy0qa1r8Sj4XQ1r8PyUjRV8yXy0PdjMqaGgmdWARZDEMakD8PWYWYiE3OVQwbmojMiT0MEcISF0Ca2A4LTEFSEP4JzYJZEQSSTH0MDwXOR85RRsuTFTzSUEQNUIlcmQ2bFj2NVUNc0cTcFYyT1wPXUEoU1siMEUvTVvuQiQsaGMqZzw2c2c1PkE1bmIKdVg5J0D8TlQRZyMQLmcAZEgnZCI4Llg4bUAkNVYYQF4vRzQ2Z1M0aSj0U18qVmcnbzUvc1UuOUEWMjErb2MIVEMSbzQZcTkoKzwRcEbxL2j8SmMoOTY5NS0qSkEpYzQ1ZzMFMSA2bWHqbWUqa1USTTUqPkkwcSYkdikiX1shVS0JMTIgX1oqTUYUVTQAYVQ2cjo0RmEYc2cYPWk2blY5YWcUdV4tdkonaGDuP2o1ZUEndDUXPmkALDgDMDYjbTwZSjgqTVX3Plo2PVfyZTcyQEkrXyDwb2Iwa2kncWAFPVovTjUqVV0UMmcjbUIuM1T2J2M2SicKQlf2TUoxc18oYFM4bUTzK0kGNGYnYUoiMDknUGElYjkpQCUWXSUuLCkNNTsmQG=2TmcZLiUCckIjKz0SQWUBPWfxQDb8OV7xQ1cHdSAuOVcXVkkmNGgARGL1c183Pz41QVsyMlv4bFUxc0YKMFUYa2judFslL0cpbGkMVhsNQUAiT1MZQ0P3M1kqUjb8LCXxYVQqclwmYFw4TFsqX0cPb1MZdikYdh8rZyk2TEgCLFr0bTknL2kzbSEHYTMqZ0YWRkkVYWMxLj4ndVfzNVf2aFIwQlUXTGgjSl78Yyb0cGAAa1v2U1sRQykWZGYocGETJzUxcWMJSj04YDUiUUoQYiQQMDHub0Y4VlgSbj4oby0NYjEjZDsXLik1cjIXPS0yVWX2UDc3PUkwRzoFRyMQQlgRSCQ2K1smZzQzYFMvMWMwSVg1alMmOV0oZ1gwbVQnYTzuR2T4NGcCXzkJJ1j8cmP8RyY1cj4jMkU3XUcBLFHzMWnyT0X1ZWkgUVcRLWQKZlM1YygGMVQxZT4ubko3PyT2TSkjYlQoPUYyb2YocD0TPj4DVjctZzDyczEwVV0mTVgROVstcxsHRVw1SSkZbEjuSRruXifzYjPxcSzwPRsiZzf4MTgtbzUnQTXvQSEyK0A1Yls5aFcmcVg3ZWUWMkLyQkkzMzoQVmIJTVcza2ANVDYUSEYSX1E3biIKLVMocj0Kdh8Vazv3J1TvaT0jJx81NSXyb1gZNVr2UlrwLzX1LC=0PlwYPzolMFr8LGbuK2UsVF8tK2YGOSkWbFjqRiMQYyzzX0opQjwpdWIHZmIKTWgPcygzVGcGZEgmKyAqZDwRY1MHNCQxbSUtb0n3R1QpZlQuYF82cSMPSlg2LjXuMUgBVTcDMzQkZ1s1UkABNWACQGMqdmMxQWEiZ0gYZl8WblIuaEX3LWcFPmM4MlT4b18YPUQxayIZdUnqR1EXLyb1QFEBY1osRCTyQk=8a1QEOSARTi0GU2IGRSQsPVcrRyUWZ1rxL0c2ZFkmUF81Shs2MVQNPS02VmEWQlstSCAMOWL1UBsmNUX1ZWcuK2M4MEIybR85LGMRYV38NWb4blkjYyITQWohR0A3VmMyZGEoczQ1QDI2ZTXySFsPOVLwOUIBQCcZVjIQciE0by0xMEAnQlQ2ZF8TbyUZQB74UCEYVjUCY0oVVSEDaToETzX4cVs5ZCY5NTUvcGYqYEUPZzgxR2UFPj0FclskNR7vbVEmMWEWbUP1UFLzdWjqcVMPMFQkLVQ5bTrvbWMiciAgR2QQb13qTCg3aCLyYx8PaGctX2cNXmUWNWITbzkBZDkKYmEzYCPqRzwZSSENQjokXWM4VDUmQWYIaCYlKzEwYlvuYEfvaWcARjkwQy0ULFY1bDQjNFQRKz32QT4PSTYDa0nuQ1ENNGYCaUjyR2I1bDfuQFIodTnvclMoJ1Q5Y1MXbR8PYTU4XiMEUGcAZFUTYTErL1rwSSk0XkAqSS0nckIKNR8AZ0bqaGUNa14JMlbya1cXbC0UYWEBclzxUFoGYSMwYlkYMTcPUGQyLlQjYVkyciERLijvR2DuSi0Mb1TyMTguSFwDYFUDX1kYP18jRjP8VTMCLDIxYFURZmMCLiMJVWE0NTYYSUTyb1ESMTQQUF3yOWIjM2M0RjQnUUIPYDkDVWHybzwxb2c3QkYMSF0pP2f2PzDuU0XubzwGYmcRM1M5OTY2SlUNNVoRVEAqQ145Vlr2azoZayEtZlgiUEo5Yzr4aV8TbiMDK1wIcSDvZ2opJyQRK0IqYykYZ2DwMEcjcDQkQUYyOVQZNTnySSIhJ0ojP2ArQGfqa2AHb0IBX2YXbGEqc2E2dGX0ciAhby0YTV0HT2cqXUgUSmEjcjonZl3qL0I2Sh8wSigiSCMuQx8HViIXNWAVaF7qZ1sJQiY5PhsLaGYVcmYqVmELbjMoM1rqU2M3Rzsich72PTUjTUcxX1wUJz4pb2ooTiYqSjgFVjX8bEgqTy0wRFQqaVkEPmf3Q1sHYFgRb2YvVUQ5cUopVmcuJ2cGbUo3VF78biD4R2bucUMra1MPVmYvRR8SbSgZbUA4UDH4Yz4hRyI1ZSABc1fxMGn3QGo4MDzqMl8MRTYNc1kJLzEsNCYYLEglaU=4aDz3Z0oMcUQyczQYa2kTTkUGUUc4RmAWVlwRUmjvMyP8ZV0PYzsjXlYkbVgoRjgxa101TzkYY2D3XlMyMGgEYVcMMVMrVmP0MVs3RRs5cDULSiYVPxsSXzsYLkoyLTQjTDE2T1cvKzwzPS0xQDkAc2bvNVcycF0LayIyb145YUMjcST8PVshUx8gJzsNclr2QEgrM2YGazc2Qj4jcVwwYFUAbmUFXy=zSmkMaSEYLyI0ciIjaz44bTnwXiEQUykCa2gVazX4QGMhVWcBSUYLU2kLcG=ualgDQTYmNGMiP2H3OWjwU14UZiAmRGY5QVkKQhsgYUYuTUoTXWAHcDoxa1MtOWMucTQpTmgoXWInJ0QCVjsLclEMYEHqU1QJRyL2VCM0aVwxSiQrRkIwdV8VaEcLbDX1bzUpTB8pZ1IGPUclLTcYTl0VJ18DaDP8UDPwbmXwZUUUTCgRQzD4cjYVbF0qX0fzUCYGMVc5MDr4UGAncyP4U0kXM0cxM1YqRmogPjwZYGD8LmQwc0IVZTMxQDMvSFQuTGYRTUgwaWcwMVf0TFMldlf4XScWYzUnRDMFbSMNZlQzMmMQb2AxUjgnPSYkbWURXSYzXmX1cDYwUEgSZkULRDj1SD4EPT4qbUIgaFgTdF4ZPTQoXjcANUQ2PVwTZzgvMDQGXVYncSYYZSLzQ0ADUEYDUzL2UWASSkUZMBsuYiEQaFcJT0APcD4ZYlMKOTwsMEUlTmUTPjguOTLvL0kJdDoVb1ElbkPyc2UVTlvwcWIGVl4RZ1DxXmPvdGQyT0bxX0kTSlE5ZkQjUlDyMDM3LjgZSkQUM0HvQ0cnVCIPambwUCQsMW=1cGUoYVEgcjISK1UoPzERPzEnTiXzQlQ4SUIpdlrvcCQobVIlciUzXij3b0I4LTfvXSUuRiAkZ2bvRUoBaCjxJyUvOVgUSmY3ZiQBLCMlLWMZVDoHQmIXNSAzcV4TSD4wLV3zOTLvXV4tK0guUTYjRmj2XlcEcGYXczkYayAPbmAQVWoSL0EvPV80OWYZZScBZzcHXjwHaTI2SCUiNDw4YGkRT0fzUEfxKzwYLDkFdTMwTkMyLGARQ1Dqcl7wbV0iZCEKM0QSSEMxMFsZVFP3cWc0Lh8TKzcvZiEkVjYwYDUsbVkTUDYwQVUlSiEwRlr4cV8nVh81LEokMkg3VGMwTWANbV0Ma1cmZmX3b2=zUyImLTMjZFsia2g2NSUtZEcyMz0qaWkUOVcmZ0MJOWURVS0hSmUsbyEDQVw4MmoxcjYsYkg4TS0yZ0EiNTcmdjYMZzYJP0EJNGQYOUbqb1gZNC00bCU3cCMibUEUVD4FRSAoSTQ0MSkvYCUEaV72Zz02J1IXdGkiX1IpSWMPbEEYUyPwNUcqa2UPdGDuLFcjMiM2YWkrQj4QYFn8QCU0cjkVb1IuRCkuNEj0czsnSTn0TT05YzgFbSEpZFYSSCUWU0MnQWTvPWcmZFw2cmA5czkAaVw3aWk5P0P2TlMPaFswRjDwdTIFaB8vOTQFY1khK1HuZ2Iobz4mUVM1biYxRRsiXTowYT0LZzgEPUEqQycvbBsmXykAc2IhK1UZLVQUZ0AxQlj8LzEwQ1oydUorblsKSkIpMkcyM0YsMCQ1RSIkYzHvOWIjTC0BTWgiRTs4ZykZTy02Ky0nLUQXczT3Y1QVVmAyKzP8PmE2dVkRYy=yYGj8PTENMVUwbCQqUmYwZ0kWSls1dlkqckIVdWYWUWbvcWopayglOUoScmkvUV0oZy0IbSD3dFUXQhsYa1EXZ2P4T2IKcikqbmQhY0czMC0ZVDcmc1YsdWQ2bWIZJzL8LEYBTToTcmM1Q2UxJ0YFb0M5by0nMjv2SSIVZ2EoYFsvSkH8ZkoGMFgjcC0rRTEqcEP0QVExcUoubl01VWLvOSAxYi0pcSL8cEMudSIuU2cwTEUqK0AJVVIzcTHzazv8aUQ4bWIYT2oNVkIvUT4xZVr3LVc2STE4VmkGK2cPUFsGbDclXWYHLVI4ajYNQEoDdjQQM0MjczkFUi04ZlQMUGPzZF82Tkb1Qlr3blsZOVoYbWkzc2YjbicqUEcFR1YKU2QJR2YWSCIpMzkNSkIZUiQ5cjz2RGQnZlsCJ2YnUkkyciX0XkXwRkcIb2QJUkX2bmX1bikBXlIYZz0vSkoxY102VmoFLSk1Yh71bF02LUIsMlslVloFMkkINTMrQUkZaWQNaVMoSTwZb10tUGY2aGUIYRsqRVosMyY5ZC0LX2kTcx8ZSWnvXkjwQkYidiQQZ0ESQkL1alYEZl4SLWkCVlMEREP2ZyAAUEoARi0pT1n2YmkvSVkGdic2MScsMiMrVTE4ckI1XSQ0SFUMXmQIRWX1OWMyMDUXYCYKYTYlLzUTc0QocjIiQFMqdFcYbFwRXjkHLi0VRx8ibiMBOSYJPVMqQR8lYUMjaF70LlY1UCQrTkYvVTQAdEcgXjEUPmMmTFv2cT0oYCQjTVr1Lxr4cTz0UGoRZ1Q1LFgCc2YTZFgkb2cLY1rva0IBcCzuPlUkSFgwPmQFZ2IndTQYZGIYdFzqcmUjNToBayUzUTIKb1oSM1IWc0UqaGEqM1w2dSQnTzX2dWQxbSPqdmczQjQWdVcBLVQAMSchQ2DwcEknXyg5MlMzbFMWa0UrTkQKTTn0PUghaGAyOR8gLyYlViMzNEb2VVsMX1gIZykKZCQpMjczbTnyazUYVEMqLDQKZ2c1ZSYKbiAhQUECUGonND4iVFQrMGchdDURLEQKZlH4aFv0PSAiLVUKMGP2YD4pbUcJTEoudVHuYSUJLC0wbGMyYzXzdi00ZyMmaV4TVjj4aGkhYS0lcTYqXzcyZBsuVlTzLyckcDs5cGcSMDQiYyQ5VCQ1OVwBQSAjPVwFUFoCQWb3QF8vXln1MkYvQUXuMUgxYjo4M1gnOUQTVTQNYyz1SjY2LR82RFU5RToDZmUUL2oTSjDySlMYb0UNM1sVU1MNYUAEZjspJ2E2Z0kjUyMGOWX0VWE1X0QBZVTydTj1RSApTCf2UTI1bUbyZWH4QRsyYicPR0AhbmotPTkQUUAIZzsoRVbvZ2EybiT0MEAUYz4lVmj8YGjzbV8DKz4zaDoDb1wCZ1g0ZWY1aVkNJzctUDHuY2crZigpckXxc1cRMmX3c18jNGgRTSDvc2DwcWYTRiMhZzD0QiAFP0AyLVklOWQ2YWgZOWM4VVcGclY1NCUwNUYTQUYLYDYIYloXTyLvTlgWMWU3ZUQmT0QvPi0EZ2I1XVQYK0g1TCEsMSz1YWbxLSUAZGEyZ1sAQj8OOB8IaVEmYTQCOfzJODYubl0gcFUeQlwgYy37KzYubl0gcFUeQlwgYy3MBiwAcF8sZWogcFkuak8FaFEmOi=7KzEza10odlEzZV8tWzYrXVb9CPn7TGIucFUicDQuX2UsYV4zOi=7K0Axa2QkX2QDa1M0aVUtcC3MBiwBXWICa1QkXV4jZUMoY14gcGUxYTYrXVb9LCvuPlExP18jYVEtYFkSZVctXWQ0blUFaFEmOfzJODYSYWI1ZVMkTz39LC=2Li=xLC=3LCjxMCbzLSLyOB8FT1UxclkiYUMNOfzJOEAxZV4zUlkyZVIrYS3wOB8PblktcEYob1khaFT9CPn7b0MoY14ScFEzYS34NSj4OB8yT1kmakMzXWQkOfzJOD0jMS3zMFLyLyIgYSEgXiPyLCYhXi=yLyD2YFL2NSUkLFEgXSvuSVP0OfzJOEAxZV4zT1UzOi=7K0AxZV4zT1UzOfzJOEMkXVwSYWIoXVv9Z2c1a2EnYCExVTsVdWAASGMiMEckTTQzZibyRFcoPjj8QUoRK2n1Yj4TLE=0dCH3QlwhRmUMUUL4aTMGJ0gtXT77K0MkXVwSYWIoXVv9CPn7XjggalQWblkzYS3wOB8hRFEtYEcxZWQkOfzJOGMzbkAgb2MWa2IjOmklLiXzLyvub2QxTFEyb0cublP9CPn7K0cOTjQoT1kmalEzcWIkOfzJOEcPT1kSZVctXWQ0blT9CPn7QlwgYy37KzYrXVb9CPn7PWAvSlEsYS37KzEvbD4gaVT9CPn7QF8iRTP9OB8Da1MIQC3MBiwDa1MNXV0kOivuQF8iSlEsYS3MBiwSZVctXWQ0blUNXV0kOivuT1kmalEzcWIkSlEsYS3MBiwSZVctXWQ0blUUb1UxSlEsYS37K0MoY14gcGUxYUUyYWINXV0kOfzJOEMoY14gcGUxYUUtZWQNXV0kOivuT1kmalEzcWIkUV4ocD4gaVT9CPn7T1kmalEzcWIkR1U4Tz39OB8SZVctXWQ0blUKYWkSSi3MBiwSZVctXWQ0blUTZV0kOivuT1kmalEzcWIkUFksYS3MBiwCa10vcWQkbjkPOivuP18sbGUzYWIITC3MBiwCa10vcWQkbj0APzEjYGH9OB8Ca10vcWQkbj0APzEjYGH9CPn7TFkiQWgzOivuTFkiQWgzOfzJOEAoX0coYGQnOivuTFkiU1kjcFf9CPn7TFkiRFUoY1gzOivuTFkiRFUoY1gzOfzJOEMoY14kYDMuamQkdGP9OB8SZVctYVQCa14zYWgzOfzJOEMoY14gcGUxYUYgaGUkOivuT1kmalEzcWIkUlErcVT9CPn7T1kmalUjSFUtY2QnOivuT1kmalUjSFUtY2QnOfzJOEMoY14gcGUxYT8xYFUxOivuT1kmalEzcWIkS2IjYWH9CPn7UlUxb1kuai37K0YkbmMoa139CPn7RV0gY1UDPy37KzksXVckQDL9CPn7Ql8xaVEzYU8FaFEmOivuQl8xaVEzYU8FaFEmOfzJODEza10odlEzZV8tWzYrXVb9OB8AcF8sZWogcFkuak8FaFEmOfzJOEMkXVwSYWIoXVv9OB8SYVErT1UxZVErOfzJOFIHXV4jU2IocFT9OB8hRFEtYEcxZWQkOfzJOGMzbkAgb2MWa2IjOivub2QxTFEyb0cublP9CPn7K0cPT1kSZVctXWQ0blT9CPn7K1kSZVctXWQ0blT9

云浮市油气回收综合治理工作

领导工作小组(代章)

2016年8月29日